## Slide 1: VS9 vs VS8
Actuator | VS9 | 
Operating voltages | 220Vac+/-10% 110Vac+/-10% 24Vac+/-10% | 
Control Mode | On-Off, Spring return, normally closed when powered off | 
Operating Temp&Humidity | 0~50°C, 10%~90% RH non-condensating | 
Operating Time | Open:≤20s; Close::≤15s; | 
Protection Rating | IP20 | 
Valve | VS9 | 
Applicable medium | cold, hot water or 50% glycol solution | 
Fluid temperature | 0~94˚C | 
Nominal pressure | PN20 | 
Leakage Rate | 0.05% Kvs | 
Materials | Valve body: HPb59-2 Valve rod: HPb59-2 Valve flap: EPDM | 
VS9

## Slide 2: VS9 SELECTION GUIDE

## Slide 3: VS9 images